## Slide 1
500 ml of blood in circuit | 32 ml of blood in circuit | < 32 ml of blood in circuit
Adults | Patients weighing 2.5-10kg | Patients weighing <2.5 kg
Miniaturized Manual Renal Replacement Therapy: Pre-clinical Model for Neonatal Applications
a,bCarl Russell III, aAngus Stergar, cGiovanni Ceschia, aRose Odom, a,dMichelle C. Starr, eJolyn Morgan, eAmanda Snyder , fDenise Hasson, gEd Pulte, hApaara K Chawla, c,iStuart Goldstein, a,b,dDanielle E. Soranno, a,dCara L. Slagle
aIndiana University School of Medicine, Department of Pediatrics, Indianapolis, IN, USA;
bPurdue University Weldon School of Biomedical Engineering, West Lafayette, IN, USA;
cCincinnati Children’s Hospital and Indiana University Health, Cincinnati, OH, USA;
dRiley Hospital for Children, Indianapolis, IN, USA;
eCincinnati Children’s Hospital, Cincinnati, OH, USA;
fNew York University Langone Health, New York, NY, USA;
gExThera Medical Inc, Martinez, CA ;
hGeorge Washington University, Washington, DC, USA;
iUniversity of Cincinnati College of Medicine, Department of Pediatrics, Cincinnati, OH, USA
Peritoneal Dialysis is Limited
Decreased skin integrity
Unreliable ultrafiltration
Current Hemodialysis Options
The Brophy Kit
Vermont Oxford Network
Extremely Low Birth Weight Patients
Unable to maintain fluid homeostasis

## Slide 2
Miniaturized Manual Renal Replacement Therapy: Pre-clinical Model for Neonatal Applications
a,bCarl Russell III, aAngus Stergar, cGiovanni Ceschia, aRose Odom, a,dMichelle C. Starr, eJolyn Morgan, eAmanda Snyder , fDenise Hasson, gEd Pulte, hApaara K Chawla, c,iStuart Goldstein, a,b,dDanielle E. Soranno, a,dCara L. Slagle
aIndiana University School of Medicine, Department of Pediatrics, Indianapolis, IN, USA;
bPurdue University Weldon School of Biomedical Engineering, West Lafayette, IN, USA;
cCincinnati Children’s Hospital and Indiana University Health, Cincinnati, OH, USA;
dRiley Hospital for Children, Indianapolis, IN, USA;
eCincinnati Children’s Hospital, Cincinnati, OH, USA;
fNew York University Langone Health, New York, NY, USA;
gExThera Medical Inc, Martinez, CA ;
hGeorge Washington University, Washington, DC, USA;
iUniversity of Cincinnati College of Medicine, Department of Pediatrics, Cincinnati, OH, USA
Percent Difference Prescribed Ultrafiltration Volume vs Actual Throughout the Day
Stable Respiratory Rates
Serum Equilibration to PlasmaLyte™ Infusion
Quantifiable Operator Fatigue
The Experiment Demonstrated the Following
Post Procedure Serum to PlasmaLyte™
% Difference: Na {4.1%}; K {5.15%}, Cl {0.25%}

## Slide 3
Miniaturized Manual Renal Replacement Therapy: Pre-clinical Model for Neonatal Applications
a,bCarl Russell III, aAngus Stergar, cGiovanni Ceschia, aRose Odom, a,dMichelle C. Starr, eJolyn Morgan, eAmanda Snyder , fDenise Hasson, gEd Pulte, hApaara K Chawla, c,iStuart Goldstein, a,b,dDanielle E. Soranno, a,dCara L. Slagle
aIndiana University School of Medicine, Department of Pediatrics, Indianapolis, IN, USA;
bPurdue University Weldon School of Biomedical Engineering, West Lafayette, IN, USA;
cCincinnati Children’s Hospital and Indiana University Health, Cincinnati, OH, USA;
dRiley Hospital for Children, Indianapolis, IN, USA;
eCincinnati Children’s Hospital, Cincinnati, OH, USA;
fNew York University Langone Health, New York, NY, USA;
gExThera Medical Inc, Martinez, CA ;
hGeorge Washington University, Washington, DC, USA;
iUniversity of Cincinnati College of Medicine, Department of Pediatrics, Cincinnati, OH, USA
https://www.icubaby.org/
Bring to market via humanitarian device exemption
Dialyze on a Disease Model
Improve the Care of Our Extremely Low Birth Weight Patients
Stable Respiratory Rates
Serum Equilibration to PlasmaLyte™ Infusion
Quantifiable Operator Fatigue
- Use 2 operators instead of 1
Key Takeaways From Use on Healthy Rodents
Next Steps
Translational Impact